## Hoja 1
serie | descripcion | tipo
818770B | 2 PIN CONNECTOR (3.81mm/90°) (5 pcs)
818270C | AIR EXCHANGE MODULE (75CMH)
818522F | AUXILIARY CONTAC (WHITE DOT (10PCS)
811537D | BRACKET, EVAPORATOR FAN MOTOR
818329A | BUTT SPLICE
818202B | CABLE ADAPTER KIT, FAN MOTOR (10 pcs)
815505D | CABLE ROOM COVER
818561B | CABLE SET (X1, X2, X3), CIM 5
814247C | CABLE, FC (1.0 AND 1.1) TO COMPRESSOR
819526B | COIL CONDENSER
818658B | COMPRESSOR 818658B
818760B | CONNECTOR PLUG, SOLENOID COIL (5PCS)
818521B | CONTACTOR
818310C | CONTROLLER DOOR, CIM 6
868510D | CONTROLLER MODULE, CIM 6.0
818925A | CONTROLLER MODULE, USB CIM 6.2
818510E | CONTROLLER MODULE, USB CIM 6.2 (REMAN)
815209B | COVER PLATE (1715MM), CONDENSER
818250E | DAMPER, AIR EXCHANGE MODULE
881523A | DEFROST HEATER, EVAPORATOR (25PCS)
814667F | ECONOMIZER
819737D | ECONOMIZER VALVE, R134A
881527A | EVAPORATOR COIL
819543B | FAN BLADE, CONDENSER
819542C | FAN BLADE, EVAPORATOR
818965B | FREQUENCY CONVERTER 2.1
818274C | FRONT PART, AIR EXCHANGE MODULE (75 CMH)
818530A | FUSE 10A
818534A | FUSE HOLDER, 0,4A (PORTA FUSIBLE)
818656B | GASKET, COMPRESSOR STOP VALVE (Chico)
818661B | GASKET, SERVICE VALVE LP (Grande)
819501A | HIGH PRESSURE SWITCH
814644C | HINGE PIN
889740C | HOT GAS VALVE
818537A | HUMIDITY SENSOR, CIM 6
818523C | INTERLOCK, CONTACTOR
818236B | MELT FUSE IT
818275A | MOTOR, AIR EXCHANGE MODULE
818792A | MOTOR, CONDENSER FAN
818783A | MOTOR, EVAPORATOR FAN
818525C | ON/OFF SWITCH CIM 6
881550A | PLUG, EVAPORATOR SERVICE HOLE
818905A | POWER MEASUREMENT MODULE, CIM 6,2
819504D | PRESSURE TRANSMITTER HP NSK
819503D | PRESSURE TRANSMITTER LP NSK
814540B | RECEIVER
818739A | RECEIVER, WATER COOLED CONDENSER
886875B | RECHARGEABLE REPLACEMENT BATTERY PACK, CIM 6 (5 PCS)
818265B | SCREW AND WASHER
818267B | SCREW KIT (10PCS)
818276A | SENSOR AIR EXCHANGE MODULE
818623C | SERVICE VALVE, COMPRESSOR LP
818235B | SIGHT GLASS RECEIVER KIT
818553A | SOLENOID COIL (14 W 24VDC), CIM 5
818554A | SOLENOID COIL 18W 24VDC CIM 5
886554B | SOLENOID COIL, 11W 24VAC
814541C | SQUARE FAN GRILLE, CONDENSER
819500C | STOP VALVE RECEIVER
818940A | TEMPERATURE SENSOR 0,35M
818943B | TEMPERATURE SENSOR INCL. CABLE GLAND (3M)
818639B | TERMINAL BLOCK, COMPRESSOR
818518C | TRANSFORMER 105 VA CIM 6
886513A | User panel, CIM 6.1 886513A